## Instructions
DIR Questionaire
Agency LAN Network Readiness to Support Voice over IP (NG-CCTS) Traffic
Instructions for Agencies
1 | Fill out 1 sheet for each building that you have that has CCTS phones today (or that will have NG-CCTS phones), as it is impairative to understand each buildings network capabilities to support voice, if you need additional sheets just copy sheet and number it BLDG #7, etc...
2 | Make sure that you enter agency and building information at the top of each building questionaire
3 | Yellow cells (like this one) must all have answers for Layer 1, 2 and 3 questions, if it doesan't apply just enter N/A
4 | Questions in the "Other Considerations" area do not need to be answer, as they are there for your information only

## BLDG #1
Bldg | Enter Agency, Address, Bldg (# or name), etc…
Name | Name of person filling out this questionaire
Prior to your agency upgrading to NG CCTS, please insure that this technical questionnaire is completed as thoroughly as possible, for every building that is part of CCTS today.
LAYER 1 QUESTIONS TO VERIFY
1 | Is the LAN cabling installation category 5 compliance where a phone resides?
Answer
Note: It is imperative that the cabling for the VOIP Network be at minimum Category 5 at every location where a Voice endpoint will be located, as this is an industry standard compliance. If category 5 is not available, the agency will be required to insure Category 5/6 cabling is in place before the NG CCTS VOIP platform can be installed
LAYER 2 QUESTIONS TO VERIFY
1 | What is the maximum speed that your network will support?
Answer
Note: Quality and Speed are absolute necessities for a successful VOIP Network. It will help to ensure quality when voice runs over your LAN network, If all desktops are at least 100/1000 megabytes. If Transceivers are needed they will need to have “Full Duplex” capabilities.
2 | Do the access switches in place have “Power over Ethernet” (POE) capabilities?
Answer
2a | POE Switches are the preferred method for powering the new NG CCTS VOIP Phones. If POE Switches are not in place, do you plan to have them in place before your agencies migrates to NG CCTS Voice Platform?
Answer
Note: The primary option to POE Switches are local power supplies referred to as “Power Bricks” installed at each desktop. These can be cumbersome, they have an agency cost associated with them and they inhibit the ability to do dynamic troubleshooting from a remote location.
3 | Do the access switches in place run COS (Class of Service)?
Answer
Note: Class of Service allows for manipulation of the “IP Queues” to be serviced as necessary. This is done when bandwidth and congestion on the network are a concern and the need to guarantee the Bandwidth for Voice traffic is imperative.
4 | Are the access switches in place capable of supporting 802.1Q VLAN’s?
Answer
Note: This is the preferred means for establishing connectivity to the NG CCTS platform, as the phones and desktops (PC/laptop) are serviced from a single network drop or LAN port, and 802.1Q VLAN capability ensures that voice traffic is handled separately and managed correctly.
Note: If the agency would like to run completely separate data and voice networks, then 802.1Q VLAN capability is not necessary. Be advised that separate voice and data networks are very expensive as they duplicate the LAN and cabling infrastructure needed to support them.
LAYER 3 QUESTIONS TO VERIFY
1 | What is the agency’s data IP Address scheme and subnet scheme?
Answer
2 | What type of layer 3 device (Agency Router) is used for the demarcation point for CapNet WAN access?
Answer
2a | What is the model number?
Answer
2b | What is the IOS Version?
Answer
2c | Will there be a dedicated router for voice or will the router be shared for the Voice/WAN Access?
Answer
2d | Does the router support any known voice features today?
Answer
3 | Can you provide a “Data Network Topology Diagram” of your Agency?
Answer
Note: Please include the Security Layer (i.e. Firewall Locations) in the topology diagram.
Other considerations for your agency:
The DIR offers these considerations as a consultative means to ensure that agencies understand all areas that are potentially impacted by adding voice to your agencies networks. In most cases these considerations may already be taken into account and addressed, as many are considered a standard for implementing a LAN network. It is not necesarry to provide answers to these questions, as these are more for awareness, than anything else.
Special Consideration:
1 | Are connections from the desktop to the IDF/MDF on a homerun or are they separated by floors, departments, etc.?
Note: Homeruns from one floor to another are very hard to maintain and set quality control standards to. If problems arise troubleshooting will start at layer 1 (Cabling). Understanding the cabling layout is a must for troubleshooting.
?
2 | As Voice and Video will, in all probability be riding the same access lines as your production data, do you have a way to monitor internet traffic utilization as well as production utilization on your network for a 7 day, 14 day or a 1 month period?
?
Example of utilization on a Voice over IP (VOIP) network is as follows:
Voice Call:
87 bytes per off hook phone multiplied by the number calls going on at the same time.
I.E. 80 bytes x 20 phones = 160,000 bytes of data at one time if all phones pick up at the same time lasting for the same length of time.
Video Call:
768 bytes per off hook phone multiplied by the number of video calls going on at the same time
I.E. 768 bytes x 2 phones = 1,536,000 bytes of data at one time if both phones pick up at the same time lasting for the length of the call.
Maintenance:
Note: There will be a contrast in how your Network is set up now compared to how it will be set up on a Voice and Video enabled network. One area of concern is when your agencies LAN equipment has a failure, not only will it be impacting the data traffic, but it will impact the voice traffic as well. A common question in this situation is how long do you feel that your agency can be without voice capabilities with no serious consequences? This will answer the question of the level of “Maintenance” in which you will desire.
1 | Does equipment have warranty replacements?
?
2 | Is RMA (Return Merchandise Authorization) on 2 hour, 4 hour or next business day contract?
?
3 | Do you have available spare equipment to swap out the equipment that has failed?
?
Power UPS:
Note: Power is another area that needs careful consideration when running voice over a data network. Establishing clean power will help to ensure the power to the VOIP phones is uninterrupted.
1 | Are access switches backed up with UPS or generator where IP telephony is required?
?
2 | If local power is being used for IP phones, does the organization have a backup strategy?
?
3 | Is there adequate power for all equipment in IDF/MDF?
?
Example Access Switch Power Draw:
Power consumption for “Cisco Power over Ethernet Switches”
Type: Cisco Catalyst 2960S-24LPS-L
Port Capacity: 24 Ethernet 10/100/1000 PoE+ ports
Power Usage 370W per fully populated switch approx.. 15 watts per port.
Type: Cisco Catalyst 2960S-48LPS-L
Port Capacity: 48 Ethernet 10/100/1000 PoE+ ports
Power Usage 740W per fully populated switch approx.. 15 watts per port.
Note: The more power that is needed to run the voice system the more imperative it is to insure that the load on the electrical system is as even and as clean as possible. Something as simple as losing a breaker can cause an outage at multiple desktops and phones.
Environment:
Note: Corrupt and dirty environments have caused many Network Outages. Proper Ventilation and Cooling are a must to enable Network Equipment the ability to run 7x24x365.
1 | Does the organization provide proper ventilation & cooling to network devices to maintain a consistent operating temperature/environment?
2 | Does the organization utilize environmental monitoring systems for critical equipment locations?

## BLDG #2
Bldg | Enter Address, Bldg #, etc…
Name | Name of person filling out this questionaire
Prior to your agency upgrading to NG CCTS, please insure that this technical questionnaire is completed as thoroughly as possible, for every building that is part of CCTS today.
LAYER 1 QUESTIONS TO VERIFY
1 | Is the LAN cabling installation category 5 compliance where a phone resides?
Answer
Note: It is imperative that the cabling for the VOIP Network be at minimum Category 5 at every location where a Voice endpoint will be located, as this is an industry standard compliance. If category 5 is not available, the agency will be required to insure Category 5/6 cabling is in place before the NG CCTS VOIP platform can be installed
LAYER 2 QUESTIONS TO VERIFY
1 | What is the maximum speed that your network will support?
Answer
Note: Quality and Speed are absolute necessities for a successful VOIP Network. It will help to ensure quality when voice runs over your LAN network, If all desktops are at least 100/1000 megabytes. If Transceivers are needed they will need to have “Full Duplex” capabilities.
2 | Do the access switches in place have “Power over Ethernet” (POE) capabilities?
Answer
2a | POE Switches are the preferred method for powering the new NG CCTS VOIP Phones. If POE Switches are not in place, do you plan to have them in place before your agencies migrates to NG CCTS Voice Platform?
Answer
Note: The primary option to POE Switches are local power supplies referred to as “Power Bricks” installed at each desktop. These can be cumbersome, they have an agency cost associated with them and they inhibit the ability to do dynamic troubleshooting from a remote location.
3 | Do the access switches in place run COS (Class of Service)?
Answer
Note: Class of Service allows for manipulation of the “IP Queues” to be serviced as necessary. This is done when bandwidth and congestion on the network are a concern and the need to guarantee the Bandwidth for Voice traffic is imperative.
4 | Are the access switches in place capable of supporting 802.1Q VLAN’s?
Answer
Note: This is the preferred means for establishing connectivity to the NG CCTS platform, as the phones and desktops (PC/laptop) are serviced from a single network drop or LAN port, and 802.1Q VLAN capability ensures that voice traffic is handled separately and managed correctly.
Note: If the agency would like to run completely separate data and voice networks, then 802.1Q VLAN capability is not necessary. Be advised that separate voice and data networks are very expensive as they duplicate the LAN and cabling infrastructure needed to support them.
LAYER 3 QUESTIONS TO VERIFY
1 | What is the agency’s data IP Address scheme and subnet scheme?
Answer
2 | What type of layer 3 device (Agency Router) is used for the demarcation point for CapNet WAN access?
Answer
2a | What is the model number?
Answer
2b | What is the IOS Version?
Answer
2c | Will there be a dedicated router for voice or will the router be shared for the Voice/WAN Access?
Answer
2d | Does the router support any known voice features today?
Answer
3 | Can you provide a “Data Network Topology Diagram” of your Agency?
Answer
Note: Please include the Security Layer (i.e. Firewall Locations) in the topology diagram.
Other considerations for your agency:
The DIR offers these considerations as a consultative means to ensure that agencies understand all areas that are potentially impacted by adding voice to your agencies networks. In most cases these considerations may already be taken into account and addressed, as many are considered a standard for implementing a LAN network. It is not necesarry to provide answers to these questions, as these are more for awareness, than anything else.
Special Consideration:
1 | Are connections from the desktop to the IDF/MDF on a homerun or are they separated by floors, departments, etc.?
Note: Homeruns from one floor to another are very hard to maintain and set quality control standards to. If problems arise troubleshooting will start at layer 1 (Cabling). Understanding the cabling layout is a must for troubleshooting.
?
2 | As Voice and Video will, in all probability be riding the same access lines as your production data, do you have a way to monitor internet traffic utilization as well as production utilization on your network for a 7 day, 14 day or a 1 month period?
?
Example of utilization on a Voice over IP (VOIP) network is as follows:
Voice Call:
87 bytes per off hook phone multiplied by the number calls going on at the same time.
I.E. 80 bytes x 20 phones = 160,000 bytes of data at one time if all phones pick up at the same time lasting for the same length of time.
Video Call:
768 bytes per off hook phone multiplied by the number of video calls going on at the same time
I.E. 768 bytes x 2 phones = 1,536,000 bytes of data at one time if both phones pick up at the same time lasting for the length of the call.
Maintenance:
Note: There will be a contrast in how your Network is set up now compared to how it will be set up on a Voice and Video enabled network. One area of concern is when your agencies LAN equipment has a failure, not only will it be impacting the data traffic, but it will impact the voice traffic as well. A common question in this situation is how long do you feel that your agency can be without voice capabilities with no serious consequences? This will answer the question of the level of “Maintenance” in which you will desire.
1 | Does equipment have warranty replacements?
?
2 | Is RMA (Return Merchandise Authorization) on 2 hour, 4 hour or next business day contract?
?
3 | Do you have available spare equipment to swap out the equipment that has failed?
?
Power UPS:
Note: Power is another area that needs careful consideration when running voice over a data network. Establishing clean power will help to ensure the power to the VOIP phones is uninterrupted.
1 | Are access switches backed up with UPS or generator where IP telephony is required?
?
2 | If local power is being used for IP phones, does the organization have a backup strategy?
?
3 | Is there adequate power for all equipment in IDF/MDF?
?
Example Access Switch Power Draw:
Power consumption for “Cisco Power over Ethernet Switches”
Type: Cisco Catalyst 2960S-24LPS-L
Port Capacity: 24 Ethernet 10/100/1000 PoE+ ports
Power Usage 370W per fully populated switch approx.. 15 watts per port.
Type: Cisco Catalyst 2960S-48LPS-L
Port Capacity: 48 Ethernet 10/100/1000 PoE+ ports
Power Usage 740W per fully populated switch approx.. 15 watts per port.
Note: The more power that is needed to run the voice system the more imperative it is to insure that the load on the electrical system is as even and as clean as possible. Something as simple as losing a breaker can cause an outage at multiple desktops and phones.
Environment:
Note: Corrupt and dirty environments have caused many Network Outages. Proper Ventilation and Cooling are a must to enable Network Equipment the ability to run 7x24x365.
1 | Does the organization provide proper ventilation & cooling to network devices to maintain a consistent operating temperature/environment?
2 | Does the organization utilize environmental monitoring systems for critical equipment locations?

## BLDG #3
Bldg | Enter Address, Bldg #, etc…
Name | Name of person filling out this questionaire
Prior to your agency upgrading to NG CCTS, please insure that this technical questionnaire is completed as thoroughly as possible, for every building that is part of CCTS today.
LAYER 1 QUESTIONS TO VERIFY
1 | Is the LAN cabling installation category 5 compliance where a phone resides?
Answer
Note: It is imperative that the cabling for the VOIP Network be at minimum Category 5 at every location where a Voice endpoint will be located, as this is an industry standard compliance. If category 5 is not available, the agency will be required to insure Category 5/6 cabling is in place before the NG CCTS VOIP platform can be installed
LAYER 2 QUESTIONS TO VERIFY
1 | What is the maximum speed that your network will support?
Answer
Note: Quality and Speed are absolute necessities for a successful VOIP Network. It will help to ensure quality when voice runs over your LAN network, If all desktops are at least 100/1000 megabytes. If Transceivers are needed they will need to have “Full Duplex” capabilities.
2 | Do the access switches in place have “Power over Ethernet” (POE) capabilities?
Answer
2a | POE Switches are the preferred method for powering the new NG CCTS VOIP Phones. If POE Switches are not in place, do you plan to have them in place before your agencies migrates to NG CCTS Voice Platform?
Answer
Note: The primary option to POE Switches are local power supplies referred to as “Power Bricks” installed at each desktop. These can be cumbersome, they have an agency cost associated with them and they inhibit the ability to do dynamic troubleshooting from a remote location.
3 | Do the access switches in place run COS (Class of Service)?
Answer
Note: Class of Service allows for manipulation of the “IP Queues” to be serviced as necessary. This is done when bandwidth and congestion on the network are a concern and the need to guarantee the Bandwidth for Voice traffic is imperative.
4 | Are the access switches in place capable of supporting 802.1Q VLAN’s?
Answer
Note: This is the preferred means for establishing connectivity to the NG CCTS platform, as the phones and desktops (PC/laptop) are serviced from a single network drop or LAN port, and 802.1Q VLAN capability ensures that voice traffic is handled separately and managed correctly.
Note: If the agency would like to run completely separate data and voice networks, then 802.1Q VLAN capability is not necessary. Be advised that separate voice and data networks are very expensive as they duplicate the LAN and cabling infrastructure needed to support them.
LAYER 3 QUESTIONS TO VERIFY
1 | What is the agency’s data IP Address scheme and subnet scheme?
Answer
2 | What type of layer 3 device (Agency Router) is used for the demarcation point for CapNet WAN access?
Answer
2a | What is the model number?
Answer
2b | What is the IOS Version?
Answer
2c | Will there be a dedicated router for voice or will the router be shared for the Voice/WAN Access?
Answer
2d | Does the router support any known voice features today?
Answer
3 | Can you provide a “Data Network Topology Diagram” of your Agency?
Answer
Note: Please include the Security Layer (i.e. Firewall Locations) in the topology diagram.
Other considerations for your agency:
The DIR offers these considerations as a consultative means to ensure that agencies understand all areas that are potentially impacted by adding voice to your agencies networks. In most cases these considerations may already be taken into account and addressed, as many are considered a standard for implementing a LAN network. It is not necesarry to provide answers to these questions, as these are more for awareness, than anything else.
Special Consideration:
1 | Are connections from the desktop to the IDF/MDF on a homerun or are they separated by floors, departments, etc.?
Note: Homeruns from one floor to another are very hard to maintain and set quality control standards to. If problems arise troubleshooting will start at layer 1 (Cabling). Understanding the cabling layout is a must for troubleshooting.
?
2 | As Voice and Video will, in all probability be riding the same access lines as your production data, do you have a way to monitor internet traffic utilization as well as production utilization on your network for a 7 day, 14 day or a 1 month period?
?
Example of utilization on a Voice over IP (VOIP) network is as follows:
Voice Call:
87 bytes per off hook phone multiplied by the number calls going on at the same time.
I.E. 80 bytes x 20 phones = 160,000 bytes of data at one time if all phones pick up at the same time lasting for the same length of time.
Video Call:
768 bytes per off hook phone multiplied by the number of video calls going on at the same time
I.E. 768 bytes x 2 phones = 1,536,000 bytes of data at one time if both phones pick up at the same time lasting for the length of the call.
Maintenance:
Note: There will be a contrast in how your Network is set up now compared to how it will be set up on a Voice and Video enabled network. One area of concern is when your agencies LAN equipment has a failure, not only will it be impacting the data traffic, but it will impact the voice traffic as well. A common question in this situation is how long do you feel that your agency can be without voice capabilities with no serious consequences? This will answer the question of the level of “Maintenance” in which you will desire.
1 | Does equipment have warranty replacements?
?
2 | Is RMA (Return Merchandise Authorization) on 2 hour, 4 hour or next business day contract?
?
3 | Do you have available spare equipment to swap out the equipment that has failed?
?
Power UPS:
Note: Power is another area that needs careful consideration when running voice over a data network. Establishing clean power will help to ensure the power to the VOIP phones is uninterrupted.
1 | Are access switches backed up with UPS or generator where IP telephony is required?
?
2 | If local power is being used for IP phones, does the organization have a backup strategy?
?
3 | Is there adequate power for all equipment in IDF/MDF?
?
Example Access Switch Power Draw:
Power consumption for “Cisco Power over Ethernet Switches”
Type: Cisco Catalyst 2960S-24LPS-L
Port Capacity: 24 Ethernet 10/100/1000 PoE+ ports
Power Usage 370W per fully populated switch approx.. 15 watts per port.
Type: Cisco Catalyst 2960S-48LPS-L
Port Capacity: 48 Ethernet 10/100/1000 PoE+ ports
Power Usage 740W per fully populated switch approx.. 15 watts per port.
Note: The more power that is needed to run the voice system the more imperative it is to insure that the load on the electrical system is as even and as clean as possible. Something as simple as losing a breaker can cause an outage at multiple desktops and phones.
Environment:
Note: Corrupt and dirty environments have caused many Network Outages. Proper Ventilation and Cooling are a must to enable Network Equipment the ability to run 7x24x365.
1 | Does the organization provide proper ventilation & cooling to network devices to maintain a consistent operating temperature/environment?
2 | Does the organization utilize environmental monitoring systems for critical equipment locations?

## BLDG #4
Bldg | Enter Address, Bldg #, etc…
Name | Name of person filling out this questionaire
Prior to your agency upgrading to NG CCTS, please insure that this technical questionnaire is completed as thoroughly as possible, for every building that is part of CCTS today.
LAYER 1 QUESTIONS TO VERIFY
1 | Is the LAN cabling installation category 5 compliance where a phone resides?
Answer
Note: It is imperative that the cabling for the VOIP Network be at minimum Category 5 at every location where a Voice endpoint will be located, as this is an industry standard compliance. If category 5 is not available, the agency will be required to insure Category 5/6 cabling is in place before the NG CCTS VOIP platform can be installed
LAYER 2 QUESTIONS TO VERIFY
1 | What is the maximum speed that your network will support?
Answer
Note: Quality and Speed are absolute necessities for a successful VOIP Network. It will help to ensure quality when voice runs over your LAN network, If all desktops are at least 100/1000 megabytes. If Transceivers are needed they will need to have “Full Duplex” capabilities.
2 | Do the access switches in place have “Power over Ethernet” (POE) capabilities?
Answer
2a | POE Switches are the preferred method for powering the new NG CCTS VOIP Phones. If POE Switches are not in place, do you plan to have them in place before your agencies migrates to NG CCTS Voice Platform?
Answer
Note: The primary option to POE Switches are local power supplies referred to as “Power Bricks” installed at each desktop. These can be cumbersome, they have an agency cost associated with them and they inhibit the ability to do dynamic troubleshooting from a remote location.
3 | Do the access switches in place run COS (Class of Service)?
Answer
Note: Class of Service allows for manipulation of the “IP Queues” to be serviced as necessary. This is done when bandwidth and congestion on the network are a concern and the need to guarantee the Bandwidth for Voice traffic is imperative.
4 | Are the access switches in place capable of supporting 802.1Q VLAN’s?
Answer
Note: This is the preferred means for establishing connectivity to the NG CCTS platform, as the phones and desktops (PC/laptop) are serviced from a single network drop or LAN port, and 802.1Q VLAN capability ensures that voice traffic is handled separately and managed correctly.
Note: If the agency would like to run completely separate data and voice networks, then 802.1Q VLAN capability is not necessary. Be advised that separate voice and data networks are very expensive as they duplicate the LAN and cabling infrastructure needed to support them.
LAYER 3 QUESTIONS TO VERIFY
1 | What is the agency’s data IP Address scheme and subnet scheme?
Answer
2 | What type of layer 3 device (Agency Router) is used for the demarcation point for CapNet WAN access?
Answer
2a | What is the model number?
Answer
2b | What is the IOS Version?
Answer
2c | Will there be a dedicated router for voice or will the router be shared for the Voice/WAN Access?
Answer
2d | Does the router support any known voice features today?
Answer
3 | Can you provide a “Data Network Topology Diagram” of your Agency?
Answer
Note: Please include the Security Layer (i.e. Firewall Locations) in the topology diagram.
Other considerations for your agency:
The DIR offers these considerations as a consultative means to ensure that agencies understand all areas that are potentially impacted by adding voice to your agencies networks. In most cases these considerations may already be taken into account and addressed, as many are considered a standard for implementing a LAN network. It is not necesarry to provide answers to these questions, as these are more for awareness, than anything else.
Special Consideration:
1 | Are connections from the desktop to the IDF/MDF on a homerun or are they separated by floors, departments, etc.?
Note: Homeruns from one floor to another are very hard to maintain and set quality control standards to. If problems arise troubleshooting will start at layer 1 (Cabling). Understanding the cabling layout is a must for troubleshooting.
?
2 | As Voice and Video will, in all probability be riding the same access lines as your production data, do you have a way to monitor internet traffic utilization as well as production utilization on your network for a 7 day, 14 day or a 1 month period?
?
Example of utilization on a Voice over IP (VOIP) network is as follows:
Voice Call:
87 bytes per off hook phone multiplied by the number calls going on at the same time.
I.E. 80 bytes x 20 phones = 160,000 bytes of data at one time if all phones pick up at the same time lasting for the same length of time.
Video Call:
768 bytes per off hook phone multiplied by the number of video calls going on at the same time
I.E. 768 bytes x 2 phones = 1,536,000 bytes of data at one time if both phones pick up at the same time lasting for the length of the call.
Maintenance:
Note: There will be a contrast in how your Network is set up now compared to how it will be set up on a Voice and Video enabled network. One area of concern is when your agencies LAN equipment has a failure, not only will it be impacting the data traffic, but it will impact the voice traffic as well. A common question in this situation is how long do you feel that your agency can be without voice capabilities with no serious consequences? This will answer the question of the level of “Maintenance” in which you will desire.
1 | Does equipment have warranty replacements?
?
2 | Is RMA (Return Merchandise Authorization) on 2 hour, 4 hour or next business day contract?
?
3 | Do you have available spare equipment to swap out the equipment that has failed?
?
Power UPS:
Note: Power is another area that needs careful consideration when running voice over a data network. Establishing clean power will help to ensure the power to the VOIP phones is uninterrupted.
1 | Are access switches backed up with UPS or generator where IP telephony is required?
?
2 | If local power is being used for IP phones, does the organization have a backup strategy?
?
3 | Is there adequate power for all equipment in IDF/MDF?
?
Example Access Switch Power Draw:
Power consumption for “Cisco Power over Ethernet Switches”
Type: Cisco Catalyst 2960S-24LPS-L
Port Capacity: 24 Ethernet 10/100/1000 PoE+ ports
Power Usage 370W per fully populated switch approx.. 15 watts per port.
Type: Cisco Catalyst 2960S-48LPS-L
Port Capacity: 48 Ethernet 10/100/1000 PoE+ ports
Power Usage 740W per fully populated switch approx.. 15 watts per port.
Note: The more power that is needed to run the voice system the more imperative it is to insure that the load on the electrical system is as even and as clean as possible. Something as simple as losing a breaker can cause an outage at multiple desktops and phones.
Environment:
Note: Corrupt and dirty environments have caused many Network Outages. Proper Ventilation and Cooling are a must to enable Network Equipment the ability to run 7x24x365.
1 | Does the organization provide proper ventilation & cooling to network devices to maintain a consistent operating temperature/environment?
2 | Does the organization utilize environmental monitoring systems for critical equipment locations?

## BLDG #5
Bldg | Enter Address, Bldg #, etc…
Name | Name of person filling out this questionaire
Prior to your agency upgrading to NG CCTS, please insure that this technical questionnaire is completed as thoroughly as possible, for every building that is part of CCTS today.
LAYER 1 QUESTIONS TO VERIFY
1 | Is the LAN cabling installation category 5 compliance where a phone resides?
Answer
Note: It is imperative that the cabling for the VOIP Network be at minimum Category 5 at every location where a Voice endpoint will be located, as this is an industry standard compliance. If category 5 is not available, the agency will be required to insure Category 5/6 cabling is in place before the NG CCTS VOIP platform can be installed
LAYER 2 QUESTIONS TO VERIFY
1 | What is the maximum speed that your network will support?
Answer
Note: Quality and Speed are absolute necessities for a successful VOIP Network. It will help to ensure quality when voice runs over your LAN network, If all desktops are at least 100/1000 megabytes. If Transceivers are needed they will need to have “Full Duplex” capabilities.
2 | Do the access switches in place have “Power over Ethernet” (POE) capabilities?
Answer
2a | POE Switches are the preferred method for powering the new NG CCTS VOIP Phones. If POE Switches are not in place, do you plan to have them in place before your agencies migrates to NG CCTS Voice Platform?
Answer
Note: The primary option to POE Switches are local power supplies referred to as “Power Bricks” installed at each desktop. These can be cumbersome, they have an agency cost associated with them and they inhibit the ability to do dynamic troubleshooting from a remote location.
3 | Do the access switches in place run COS (Class of Service)?
Answer
Note: Class of Service allows for manipulation of the “IP Queues” to be serviced as necessary. This is done when bandwidth and congestion on the network are a concern and the need to guarantee the Bandwidth for Voice traffic is imperative.
4 | Are the access switches in place capable of supporting 802.1Q VLAN’s?
Answer
Note: This is the preferred means for establishing connectivity to the NG CCTS platform, as the phones and desktops (PC/laptop) are serviced from a single network drop or LAN port, and 802.1Q VLAN capability ensures that voice traffic is handled separately and managed correctly.
Note: If the agency would like to run completely separate data and voice networks, then 802.1Q VLAN capability is not necessary. Be advised that separate voice and data networks are very expensive as they duplicate the LAN and cabling infrastructure needed to support them.
LAYER 3 QUESTIONS TO VERIFY
1 | What is the agency’s data IP Address scheme and subnet scheme?
Answer
2 | What type of layer 3 device (Agency Router) is used for the demarcation point for CapNet WAN access?
Answer
2a | What is the model number?
Answer
2b | What is the IOS Version?
Answer
2c | Will there be a dedicated router for voice or will the router be shared for the Voice/WAN Access?
Answer
2d | Does the router support any known voice features today?
Answer
3 | Can you provide a “Data Network Topology Diagram” of your Agency?
Answer
Note: Please include the Security Layer (i.e. Firewall Locations) in the topology diagram.
Other considerations for your agency:
The DIR offers these considerations as a consultative means to ensure that agencies understand all areas that are potentially impacted by adding voice to your agencies networks. In most cases these considerations may already be taken into account and addressed, as many are considered a standard for implementing a LAN network. It is not necesarry to provide answers to these questions, as these are more for awareness, than anything else.
Special Consideration:
1 | Are connections from the desktop to the IDF/MDF on a homerun or are they separated by floors, departments, etc.?
Note: Homeruns from one floor to another are very hard to maintain and set quality control standards to. If problems arise troubleshooting will start at layer 1 (Cabling). Understanding the cabling layout is a must for troubleshooting.
?
2 | As Voice and Video will, in all probability be riding the same access lines as your production data, do you have a way to monitor internet traffic utilization as well as production utilization on your network for a 7 day, 14 day or a 1 month period?
?
Example of utilization on a Voice over IP (VOIP) network is as follows:
Voice Call:
87 bytes per off hook phone multiplied by the number calls going on at the same time.
I.E. 80 bytes x 20 phones = 160,000 bytes of data at one time if all phones pick up at the same time lasting for the same length of time.
Video Call:
768 bytes per off hook phone multiplied by the number of video calls going on at the same time
I.E. 768 bytes x 2 phones = 1,536,000 bytes of data at one time if both phones pick up at the same time lasting for the length of the call.
Maintenance:
Note: There will be a contrast in how your Network is set up now compared to how it will be set up on a Voice and Video enabled network. One area of concern is when your agencies LAN equipment has a failure, not only will it be impacting the data traffic, but it will impact the voice traffic as well. A common question in this situation is how long do you feel that your agency can be without voice capabilities with no serious consequences? This will answer the question of the level of “Maintenance” in which you will desire.
1 | Does equipment have warranty replacements?
?
2 | Is RMA (Return Merchandise Authorization) on 2 hour, 4 hour or next business day contract?
?
3 | Do you have available spare equipment to swap out the equipment that has failed?
?
Power UPS:
Note: Power is another area that needs careful consideration when running voice over a data network. Establishing clean power will help to ensure the power to the VOIP phones is uninterrupted.
1 | Are access switches backed up with UPS or generator where IP telephony is required?
?
2 | If local power is being used for IP phones, does the organization have a backup strategy?
?
3 | Is there adequate power for all equipment in IDF/MDF?
?
Example Access Switch Power Draw:
Power consumption for “Cisco Power over Ethernet Switches”
Type: Cisco Catalyst 2960S-24LPS-L
Port Capacity: 24 Ethernet 10/100/1000 PoE+ ports
Power Usage 370W per fully populated switch approx.. 15 watts per port.
Type: Cisco Catalyst 2960S-48LPS-L
Port Capacity: 48 Ethernet 10/100/1000 PoE+ ports
Power Usage 740W per fully populated switch approx.. 15 watts per port.
Note: The more power that is needed to run the voice system the more imperative it is to insure that the load on the electrical system is as even and as clean as possible. Something as simple as losing a breaker can cause an outage at multiple desktops and phones.
Environment:
Note: Corrupt and dirty environments have caused many Network Outages. Proper Ventilation and Cooling are a must to enable Network Equipment the ability to run 7x24x365.
1 | Does the organization provide proper ventilation & cooling to network devices to maintain a consistent operating temperature/environment?
2 | Does the organization utilize environmental monitoring systems for critical equipment locations?

## BLDG #6
Bldg | Enter Address, Bldg #, etc…
Name | Name of person filling out this questionaire
Prior to your agency upgrading to NG CCTS, please insure that this technical questionnaire is completed as thoroughly as possible, for every building that is part of CCTS today.
LAYER 1 QUESTIONS TO VERIFY
1 | Is the LAN cabling installation category 5 compliance where a phone resides?
Answer
Note: It is imperative that the cabling for the VOIP Network be at minimum Category 5 at every location where a Voice endpoint will be located, as this is an industry standard compliance. If category 5 is not available, the agency will be required to insure Category 5/6 cabling is in place before the NG CCTS VOIP platform can be installed
LAYER 2 QUESTIONS TO VERIFY
1 | What is the maximum speed that your network will support?
Answer
Note: Quality and Speed are absolute necessities for a successful VOIP Network. It will help to ensure quality when voice runs over your LAN network, If all desktops are at least 100/1000 megabytes. If Transceivers are needed they will need to have “Full Duplex” capabilities.
2 | Do the access switches in place have “Power over Ethernet” (POE) capabilities?
Answer
2a | POE Switches are the preferred method for powering the new NG CCTS VOIP Phones. If POE Switches are not in place, do you plan to have them in place before your agencies migrates to NG CCTS Voice Platform?
Answer
Note: The primary option to POE Switches are local power supplies referred to as “Power Bricks” installed at each desktop. These can be cumbersome, they have an agency cost associated with them and they inhibit the ability to do dynamic troubleshooting from a remote location.
3 | Do the access switches in place run COS (Class of Service)?
Answer
Note: Class of Service allows for manipulation of the “IP Queues” to be serviced as necessary. This is done when bandwidth and congestion on the network are a concern and the need to guarantee the Bandwidth for Voice traffic is imperative.
4 | Are the access switches in place capable of supporting 802.1Q VLAN’s?
Answer
Note: This is the preferred means for establishing connectivity to the NG CCTS platform, as the phones and desktops (PC/laptop) are serviced from a single network drop or LAN port, and 802.1Q VLAN capability ensures that voice traffic is handled separately and managed correctly.
Note: If the agency would like to run completely separate data and voice networks, then 802.1Q VLAN capability is not necessary. Be advised that separate voice and data networks are very expensive as they duplicate the LAN and cabling infrastructure needed to support them.
LAYER 3 QUESTIONS TO VERIFY
1 | What is the agency’s data IP Address scheme and subnet scheme?
Answer
2 | What type of layer 3 device (Agency Router) is used for the demarcation point for CapNet WAN access?
Answer
2a | What is the model number?
Answer
2b | What is the IOS Version?
Answer
2c | Will there be a dedicated router for voice or will the router be shared for the Voice/WAN Access?
Answer
2d | Does the router support any known voice features today?
Answer
3 | Can you provide a “Data Network Topology Diagram” of your Agency?
Answer
Note: Please include the Security Layer (i.e. Firewall Locations) in the topology diagram.
Other considerations for your agency:
The DIR offers these considerations as a consultative means to ensure that agencies understand all areas that are potentially impacted by adding voice to your agencies networks. In most cases these considerations may already be taken into account and addressed, as many are considered a standard for implementing a LAN network. It is not necesarry to provide answers to these questions, as these are more for awareness, than anything else.
Special Consideration:
1 | Are connections from the desktop to the IDF/MDF on a homerun or are they separated by floors, departments, etc.?
Note: Homeruns from one floor to another are very hard to maintain and set quality control standards to. If problems arise troubleshooting will start at layer 1 (Cabling). Understanding the cabling layout is a must for troubleshooting.
?
2 | As Voice and Video will, in all probability be riding the same access lines as your production data, do you have a way to monitor internet traffic utilization as well as production utilization on your network for a 7 day, 14 day or a 1 month period?
?
Example of utilization on a Voice over IP (VOIP) network is as follows:
Voice Call:
87 bytes per off hook phone multiplied by the number calls going on at the same time.
I.E. 80 bytes x 20 phones = 160,000 bytes of data at one time if all phones pick up at the same time lasting for the same length of time.
Video Call:
768 bytes per off hook phone multiplied by the number of video calls going on at the same time
I.E. 768 bytes x 2 phones = 1,536,000 bytes of data at one time if both phones pick up at the same time lasting for the length of the call.
Maintenance:
Note: There will be a contrast in how your Network is set up now compared to how it will be set up on a Voice and Video enabled network. One area of concern is when your agencies LAN equipment has a failure, not only will it be impacting the data traffic, but it will impact the voice traffic as well. A common question in this situation is how long do you feel that your agency can be without voice capabilities with no serious consequences? This will answer the question of the level of “Maintenance” in which you will desire.
1 | Does equipment have warranty replacements?
?
2 | Is RMA (Return Merchandise Authorization) on 2 hour, 4 hour or next business day contract?
?
3 | Do you have available spare equipment to swap out the equipment that has failed?
?
Power UPS:
Note: Power is another area that needs careful consideration when running voice over a data network. Establishing clean power will help to ensure the power to the VOIP phones is uninterrupted.
1 | Are access switches backed up with UPS or generator where IP telephony is required?
?
2 | If local power is being used for IP phones, does the organization have a backup strategy?
?
3 | Is there adequate power for all equipment in IDF/MDF?
?
Example Access Switch Power Draw:
Power consumption for “Cisco Power over Ethernet Switches”
Type: Cisco Catalyst 2960S-24LPS-L
Port Capacity: 24 Ethernet 10/100/1000 PoE+ ports
Power Usage 370W per fully populated switch approx.. 15 watts per port.
Type: Cisco Catalyst 2960S-48LPS-L
Port Capacity: 48 Ethernet 10/100/1000 PoE+ ports
Power Usage 740W per fully populated switch approx.. 15 watts per port.
Note: The more power that is needed to run the voice system the more imperative it is to insure that the load on the electrical system is as even and as clean as possible. Something as simple as losing a breaker can cause an outage at multiple desktops and phones.
Environment:
Note: Corrupt and dirty environments have caused many Network Outages. Proper Ventilation and Cooling are a must to enable Network Equipment the ability to run 7x24x365.
1 | Does the organization provide proper ventilation & cooling to network devices to maintain a consistent operating temperature/environment?
2 | Does the organization utilize environmental monitoring systems for critical equipment locations?